- Title

XRF-CS, ICP-MS, GEOTEK MSCL and Subsample data associated with peat records collected from sub-Antarctic islands: Bird Island Site BI10

- Abstract

This dataset of comprises of 1 mm-scale (contiguous) spectra count per second (cps) chemical element data from composite downcore X-ray Fluorescence Core Scan (XRF-CS) geochemical data, ~1 cm-scale (interval) Inductively Coupled Mass Spectrometry geochemical and subsample data, 5 mm-scale (interval) Multi Sensor core Logger (MSCL) data, depth matched XRF-CS and ICP-MS geochemical data used for calibration from peat core records from five sites on four sub-Antarctic Islands ACE (Antarctic Circumpolar Expedition) and SHW (Southern Hemisphere Westerlies) projects. The sites and records included all have well established composite profiles and age models are as follows: BI10 on Bird Island

- Funding source

This research was funded by NERC Standard Grant NE/K004514/1 (DAH, SJR). Field programmes were supported by the British Antarctic Survey (CASS126, Bird Island) NERC (Late Quaternary changes in the Westerly Winds over the Southern Ocean NERC PhD 1772184), Instituto Antártico Chileno (Isla Hermite), South African National Antarctic Program (Marion Island), and the Swiss Polar Institute, Antarctic Circumpolar Expedition (ACE09, Marion Island, Îles Kerguelen). The NERC/SUERC AMS Radiocarbon Facility and the LMC-14 staff (Laboratoire de Mesure du Carbone 14, Paris Saclay), ARTEMIS national facility (LSCE, CNRS-CEA-UVSQ-IRD-IRSN-MC) provided some of the radiocarbon dates.

- Keywords

Geochemistry, geophysical analysis, peat, sub-Antarctic Islands, X-ray Fluorescence, Inductively Coupled Mass Spectrometry, Multi-Sensor core logging

- Personnel

Data collectors & analysts (ORCID code)

Stephen J. Roberts1 – https://orcid.org/0000-0003-3407-9127  – sample, data collection and analysis

François De Vleeschouwer2 – https://orcid.org/0000-0002-0979-6397 – sample, data collection and analysis

Gaël Le Roux3 – data collection and analysis

Thomas Bishop4 – https://orcid.org/0000-0001-8253-9293 –   data collection and analysis

Sarah J. Davies5 – https://orcid.org/0000-0002-0994-0440  data collection and analysis

Angela Gallego-Sala6 – https://orcid.org/0000-0002-7483-7773 –  sample collection

Charlotte Green1 – https://orcid.org/0000-0001-9345-181X –  data collection and analysis

Bianca Perren1 – https://orcid.org/0000-0001-6089-6468 – sample, data collection

Krystyna M. Saunders7– https://orcid.org/0000-0002-6800-2630 – data analysis

Alex Whittle2,6 – https://orcid.org/0000-0001-9615-7579 – sample, data collection and analysis

Dominic A. Hodgson1 – https://orcid.org/0000-0002-3841-3746 – sample collection

Affiliations

1British Antarctic Survey (BAS), Natural Environmental Research Council (NERC), High Cross, Madingley Road, Cambridge CB3 0ET, UK

2Instituto Franco-Argentino para el Estudio del Clima y sus Impactos (IRL IFAECI/CNRS-CONICET-IRD-UBA), Dpto. de Ciencias de la Atmosfera y los Oceanos, FCEN, Universidad de Buenos Aires, Intendente Guiraldes 2160, Ciudad Universitaria, Pabellon II - 2do. Piso (C1428EGA) Ciudad Autonoma de Buenos Aires, Argentina

3CRBE UMR 5300 CNRS Université de Toulouse/Campus Ensat, Avenue de l’Agrobiopole, BP 32607, Auzeville Tolosane, 31326 Castanet-Tolosan, France

4Department of Geography, Arthur Lewis Building, Oxford Road, Manchester M13 9PL

5Geography and Earth Sciences, Llandinam Building, Penglais Campus, Aberystwyth University, SY23 3DB

6Geography, University of Exeter, Laver Building, University of Exeter, North Park Road, Exeter, EX4 4QE, UK

7Australian Nuclear Science and Technology Organisation, Lucas Heights, New South Wales, 2234, Australia.

- Lineage/methodology

A series of peat cores were extracted from Morris Point on Bird Island

ITRAX XRF core scanning (XRFCS) was used to track inputs of minerogenic aerosols into the peat, focusing on Ti as the most widely used indicator of allochthonous inputs.

All cores were measured on the ITRAXTM XRF core scanner at Aberystwyth University using the same settings and type/make of X-Ray Mo-tube. Contiguous and non-destructive downcore XRF-CS was then undertaken using the same core scanner and a Molybdenum (Mo) anode X-ray tube (settings: 30 kV, 50 mA, count time 10 seconds per 1 mm distance travelled by the detector). Raw count per second (cps) XRF-CS data were produced using Cox Analytical Q-spec software v8.6.0, aiming for as low mean square errors (MSE) as possible, which is indicative of an optimal fit between ‘as measured’ and modelled spectra.

XRF-CS measurements were made over a period of four years between 2015 and 2019, shortly after cores had returned from each of the field sites. In that time, a new detector with higher count rates was fitted to the Aberystwyth ITRAX core scanner in 2016. To account for this, and other internal differences in cps caused by downcore variations in count rates, tube ageing, and variable matrix density, water and organic content, raw cps data should be normalised by incoherent scatter, calculated as percentages of total element and scatter cps sum (% cps) (Saunders et al., 2018), and/or centred log ratios (clr) – these datasets have been constructed and are available and code to transform the cps dataset as described above can be found in the following link: https://github.com/stever60/ACE_peat_calibration. Incoherent and coherent scatter ratios can be used as proxies for changes in dry mass (coh./inc.; following Boyle et al., 2015) and have been linked to changes in water (and organic) content (inc./coh) (Davies et al., 2015; Bertrand et al., 2024).

For GEOTEK MSCL data, Intact half cores were slowly defrosted while vacuum-packed to minimise shrinkage and then analysed with a non-destructive Geotek® multi-sensor core logger (MSCL) (Gunn and Best, 1998) to obtain gamma-ray wet density (ɣ-density; GRD), resistivity and magnetic susceptibility (MSκ; SIx10-5) data (Bartington Instruments: MS2E point sensor, 2 or 5 mm interval; 10 seconds measurement time) and volume specific (density-corrected) MSχ (κ/ρ; kg m-3) using Geotek Software. Age models were constructed using the RBacon and the  2020 radiocarbon calibration curve using the R package BACON v. 2.5 for Bayesian age-depth modelling (Blaauw and Christen, 2011). Data for the age-depth models is published elsewhere, only outputs fro specified depths are included in this dataset

Following XRF-CS and MSCL analysis, cores were frozen and sliced at ~1 cm intervals using a stainless-steel band saw, divided into three sub-samples (for density/geochemistry, dating/macrofossil and archive) using ceramic knives and Teflon boards, and stored frozen in plastic Ziplock bags. Water content and dry bulk density were calculated by weighing samples before and after freeze-drying, and by measuring the dimensions of each fresh density/geochemistry sample using a vernier calliper30.

Subsamples for ICP-MS were prepared following the method in Le Roux and De Vleeschouwer (2010) (Figure S1). Dry samples were homogenised in 15–50 ml falcon digitubes with eight glass beads of 4 mm using a FastPrep®-24 – (3x20 s at 6 m s-1) and then digested in a class 100 clean room at CRBE (Toulouse, France) following an established protocol whereby 100 mg of bulk sample was digested in Teflon vials on hot plates using an ultrapure HNO3-HF mixture (Optima™ ThermoFisher) at 110°C for 48 h followed by evaporation steps (50°C) and re-digestion using an HNO3-HCl mixture if required. Samples were then evaporated, 2 ml of HNO3 were added and following proper dilutions for ICP-MS, measurements were performed using ultrapure water (18.2MΩ-cmELGA LabWater, Veolia).

Age models were constructed using the RBacon and the  2020 radiocarbon calibration curve using the R package BACON v. 2.5 for Bayesian age-depth modelling (Blaauw and Christen, 2011). Data for the age-depth models is published elsewhere – mean ages and errors for specified depths in the XRFCS dataset are included here.

- Instrumentation

XRF-CS measurements were made shortly after cores had returned from each of the field sites. Contiguous and non-destructive downcore XRF-CS was then undertaken using the same core scanner and a Molybdenum (Mo) anode X-ray tube (settings: 30 kV, 50 mA, count time 10 seconds per 1 mm distance travelled by the detector). Raw count per second (cps) XRF-CS data were produced using Cox Analytical Q-spec software v8.6.0, aiming for as low mean square errors (MSE) as possible, which is indicative of an optimal fit between ‘as measured’ and modelled spectra.

For ICP-MS, measurements were either done on a quadrupole ICP-MS equipped with a collision cell (Agilent Technologies 7500ce, Toulouse, France) or a Triple Quadrupole ICP-MS (iCap TQ, Thermoscientific) at Observatoire Midi Pyrénées (Toulouse, France). The ICP-MS instruments were calibrated using a synthetic multi-element standard while an InRe solution was used as an internal standard. Procedural blanks were regularly measured and showed negligible values.

- Quality

ITRAXTM XRF-CS scanner performance checks were undertaken using a synthetic glass standard and (informally) using XRF fused glass discs from the Ardley Lake and Yanou Lake sediment cores from the maritime Antarctic South Shetland Islands that contain highly organic units (Roberts et al., 2017).

For ICP-MS, blanks and several organic Certified Reference Materials (CRM) were run to assess accuracy and reproducibility for each element. The CRM were selected to match the composition and concentration range from pure organic material towards a mix between organic and mineral matrix:  NIST-1547a (peach leaves), NIST-1515 (apple leaves), GBW-07603 (bush branches and leaves), IPE-176 (Phragmites communis) NJV-94-1 (peat).

- Related datasets

NA

- Related URLs

Code for analysing this dataset is available at: https://github.com/stever60/ACE_peat_calibration

- Temporal coverage

Cores were extracted and data collected on 21/22 February 2017; data covers up to 8140 years before present.

- Spatial coverage

Sub-Antarctic Island of Bird Island at Morris Point (lat, long: -54.01980, -38.06876)

- Resolution

1 mm XRF-CS data; ~1 cm ICP-MS and subsample data; 5 mm GEOTEK MSCL data; subsample data is ~1 cm as detailed in top and bottom depth measurements

- Location

Bird Island - Site BI10 (-54.01980, -38.06876); maximum depth 505 cm; basal age 8140; date collected: 21/22 February 2017

- References

Bertrand S., Tjallingii R., Kylander M., Wilhelm B., Roberts S., Arnaud F., Brown E. and Bindler R. (2024). Inorganic geochemistry of lake sediments: A review of analytical techniques and guidelines for data interpretation. Earth Science Reviews 249, 104639. https://doi.org/10.1016/j.earscirev.2023.104639.

Blaauw M and Christen JA. (2011) Flexible paleoclimate age-depth models using an autoregressive gamma process. Bayesian Analysis 6: 457-474.

Boyle J.F., Chiverrell R.C. and Schillereff D. (2015). Approaches to water content correction and calibration for μXRF core scanning: comparing x-ray scattering with simple regression of elemental concentrations, in: Croudace I.W. and Rothwell R.G. (Eds.), Micro-XRF Studies of Sediment Cores. Developments in Palaeoenvironmental Research Series. Springer.

Davies, S.J., Lamb, H.F., Roberts, S.J., 2015. Micro-XRF Core Scanning in Palaeolimnology: Recent Developments, in: Croudace I.W. and Rothwell R.G. (Eds.), Micro-XRF Studies of Sediment Cores, Developments in Paleoenvironmental Research. Springer Netherlands, Dordrecht, pp. 189–226.

De Vleeschouwer, F.,  Roberts, S.J., Le Roux, G., Bishop T., Davies, S.J., Gallego-Sala, A., Green, C., Perren, B., Saunders, K.M., Whittle, A., Hodgson, D.A. (submitted). High resolution XRF-CS ICP-MS mineral element data calibration in sub-Antarctic peat records and applications to Southern Hemisphere westerly wind reconstructions. Submitted to Scientific Data

Le Roux, G., De Vleeschouwer, F., 2010. Preparation of peat samples for inorganic geochemistry used as palaeoenvironmental proxies. Mires and Peat 7: Article 4. http://www.mires-and-peat.net/pages/volumes/map07/map0704.php

Saunders, K.S., Roberts, S.J., Hodgson, D.A., et al., (2018). Holocene dynamics of the Southern Hemisphere westerly winds: possible links to CO2 outgassing. Nature Geoscience, 11 650-655. https://doi.org/10.1038/s41561-018-0186-5

- Data structure and data format

Data consists of the following csv files:

ACE_BI10_ICPMS.csv – ICP-MS geochemistry dataset for subsamples

ACE_BI10_MSCL.csv – GEOTEK Multi-sensor core logger (MSCL) physical parameter dataset from intact cores

ACE_BI10_Subsample_ICPMS_XRFCS_cps_matched.csv – depth interval matched Subsample, ICP-MS and XRF-CS geochemistry dataset

ACE_BI10_Subsample_XRFCS_cps_matched.csv – depth interval matched Subsample and XRF-CS dataset

ACE_BI10_Subsample.csv – Subsample dataset of basic sedimentological parameters (water content, dry mass, LOI etc.)

ACE_BI10_XRFCS_cps_ICPMS_matched.csv – depth interval matched ICP-MS and XRF-CS geochemistry dataset

ACE_BI10_XRFCS_cps.csv – ITRAX XRF-CS geochemistry dataset from intact cores

- Access constraints

None after publication but a log in for reviewers to access an embargoed dataset is needed.

- Use constraints

NERC-funded data, so the Open Government Licence applies.